Air Quality

The Action and Limit Levels for 1-hour and 24-hour TSP for the monitoring station are presented in following tables:

Table C-1:	Action and Limit Levels for 1-hour TSP

| Monitoring Station | Action Level (mg/m3) | Limit Level (mg/m3) |
| --- | --- | --- |
| AM1 | 273.7 | 500 |
| AM2 | 274.2 | 500 |

Table C-2:	Action and Limit Levels for 24-hour TSP

| Monitoring Station | Action Level (µg/m3) | Limit Level (µg/m3) |
| --- | --- | --- |
| AM1 | 143.6 | 260 |
| AM2 | 151.1 | 260 |

Noise

The Action and Limit Levels for Noise for the monitoring stations are presented in following table:

Table C-3:	Action and Limit Levels for Construction Noise

| Time Period & Monitoring Locations | Action Level | Limit Level |
| --- | --- | --- |
| NM1A |  |  |
| 0700-1900 hours on normal weekdays | When one valid documented complaint is received. | 75 dB(A) |